  - C57.13 Instrument Transformers – Unapproved Minutes – R. McTaggart

- The Instrument Transformer Subcommittee met on Wed Oct 23 at 8AM.

- 13 of the 25 members plus 21 guests attended

- 4 guests requested membership

Chair’s Remarks & Announcements

- The schedule for future meetings was presented

- The 2 previous meeting’s minutes were approved as written (PR – DW)

- The status of all C57.13 standards was reviewed

    - Special Presentation: Voltage Effects on CT Accuracy – by Dr Eddy So

Presentation to be posted on ITSC webpage

    - Working Group on Current Transformers with mA range (WG C57.13.7) - Chair: Henry Alton, Vice-Chair: Adnan Rashid

The WG met on Oct 21 at 3:15 PM

Old Business (House Keeping)

A single piece of old business was to generate a new draft based on comments received since the last meeting.

New Business

A new draft of C57.13.7 was tabled with all of the previous changes implemented. A summary of changes in draft 4 are as follows;

Please find attached the updated version D4 with some inclusions of information as follows;

- Participants

  - Updated the Working Group Members list

- 1.0 Overview

  - Updated commentary to more specifically state the objective in the light of comments that I have received.

- 4.0 Ratings

  - Primary values of 600A and 800A have been added as per the previous draft to make 80mA-100mA equal

- 6.2 Basic Measurement Accuracy Class

  - Item h) slight correction based on comments received.

- 6.4 Requirements for Accuracy and Accuracy of Calibration Systems

  - Added based on comments received

There were no objections to these additions during this meeting.

There was additional change requested by Dr. Eddy So of NRC.

Introduction

This introduction is not part of PC57.13.7/D4, Draft Standard for Current Transformers with Maximum mA Secondary Current of 250mA.

This standard was prepared by the Working Group on mA Current Transformers of the Instrument Transformer Subcommittee of the Transformers Committee of the IEEE Power & Energy Society. The purpose of this standard is not only to allow the evaluation, certification and specification of    mA current transformers similar to the present process available for 5A secondary output current transformers, since 80mA and 100mA current transformers are now approved in Canada, but also to take into consideration certain applications in the use of the mA CTs that has the advantage of a much lower voltage drop in the secondary leads when the burden is located at a farther distance from where the installed ma CT is located. Also, for the same voltage drop across the burden as that when using a 5 A CT, its power dissipation in the burden is much less than that when using the 5A CT. However, with a mA CT, care should be taken to minimize environmental interference due to the much lower secondary current as compared to that of the 5A CT, since it would be more susceptible to noise/interference, etc.

Ross McTaggart of Trench and Adnan Rashid of Measurement Canada had the following comments for changes to the document during the meeting;

- Figure 2: X axis scale is not correct					Ross McTaggart

- Header correction for the Standard Title					Ross McTaggart

- There needs to be some detail added for the test methods for mA CTs	Ross McTaggart

- Participants List had a typo OC 57.13 which should read C57.13.7	Adnan Rashid

Actions from this meeting.

| Action | Assigned to | Item |
| --- | --- | --- |
| Action 1: | Henry Alton | Comments should be implemented in a new draft “D5”. |
| Action 2: | Dr. Eddy So | Provide the clauses for test methods in this standard Eddy SO will provide a forecasted date of availability of test methods drafting complete for review. The posting with all of the changes will be coordinated with this date. |
| Action 3: | Henry Alton | Post a new draft “D5” when the test methods have been received. |
| Action 4: | All Participants | Provide your IEEE Membership numbers to Henry Alton for preparation of the Balloting Roster |
| Action 5: | Henry Alton | Prepare the balloting roster on the eTools “MyProject” account for this working group. |
| Action 6: | All Participants | If there are no further comments after draft 5 the working group will vote to accept that version as final via email or conference call. |
| Action 7: | C57.13.7 WG and IEEE | Formal balloting and vote to accept and release as a new standard |

    - Working Group for Revision of IEEE C57.13 Instrument Transformers

-  R. McTaggart

The WG met on Tues Oct 22 at 8 AM, with 14 of the 24 members present along with 34 guests. It was noted that members who consistently do not attend will be reclassified as guests.

A brief history of the WG was presented along with the future milestones. The chair pointed out that to meet the schedule we need to quickly produce a 5th Draft which is good enough that most WG members will vote to accept it.

The changes from draft 3 to draft 4 were summarized and several omissions and minor issues were identified and will be corrected in the next draft.

It was agreed that we would clarify the class1 / class 2 concept and the relationship between C57.13 and C57.13.5. Devki Sharma offered to provide the new wording.

The reference to IEC 60270 was discussed and will be left as-is but reference to the new PD Guide (PC57.160) may be added if allowed. IEEE Test Std 4 will also be reviewed to ensure consistency.

In Annex B it was agreed that temperature rise calculations for the thermal short-circuit test are sufficient (test is pointless)

The next subject was the partial discharge requirements for 72 kV and below but since we were running out of time it was proposed that we have another meeting in the afternoon, which was made possible thanks to Greg Anderson.

The 2nd meeting took place at 1:45 PM with 13 members and 4 guests attending

We started by reviewing comments which R. Mullikin had prepared between the meetings. These were editorial and terminology issues which will be incorporated into the next draft.

The main discussion in this meeting was regarding the Prestress and Prescribed Extinction Voltages for 72 kV and below. In draft 4 the basic values for L-G connected Instrument Transformers are Prestress = 1.8 x nominal system voltage and Prescribed Extinction Voltage = 1.2 x L-G voltage. It was agreed that 1.8 was reasonable but some thought the 1.2 was too low and some wanted an even lower value. After much discussion this was not resolved even though the meeting went 20 minutes overtime. A survey will be sent to the members to resolve this as fairly as possible.

    - TF on Station Service Voltage Transformers

The inaugural meeting of this Working Group met on Oct 22 at 9:30 AM as convened by Chair David Wallace.  Roster sheets were circulated for attendees to sign in and indicate their interest in membership.  A total of 22 people were in attendance and 15 people requested membership.

Mr. Kenneth Skinger volunteered to serve as Co-chair of this working group.

Mr. Wallace reported that the PAR application was submitted on October 21, and William Bartley (Standards Committee Coordinator) said the PAR has been submitted in time for the Standards Board December 2013 meeting.

The number assigned to this new standard is C57.13.8.  The first draft has been posted on the Transformers Committee web site under the Instrument Transformers Subcommittee link.

Mr. Wallace gave a short history on the evolution of the SSVT product and how it is typically applied.  Most applications are to provide low voltage power in substations, although some applications have been to power cellular communications towers or small amounts of power to remote villages.

Some of the topics proposed for discussion within the scope of the document are protection alternatives, such as sudden pressure relays or over pressure relays, primary or secondary overcurrent protection, and any other accessory that might be considered for such a transformer.

The attendees suggested the new standard should include other insulation systems, such as gas insulated or oil-paper insulation which is not of the thermally upgraded material.

Another topic for discussion concerns the accuracy of the metering windings (when included), as affected by loading on the power winding.

It was also recommended that the group review the name chosen for the product, as several designations are in use.

Mr. Wallace invited everyone to review the draft and provide comments to him prior to the next meeting.  The next meeting will be at the spring 2014 Transformers Committee meeting in Savannah, Georgia, USA.

Meeting adjourned at 10:00 AM.

    - ITSC Adjournment (PW – FE)