## ANNEX A Bushings Subcommittee

April 05, 2017

New Orleans, Louisiana, USA

## Chair:  Peter Zhao
Secretary:  Eric Weatherbee

- Opening of the Meeting

A.1.1   Introductions

The Chair opened the meeting with group introduction.

A.1.2   Attendance

Membership count was taken with the following results: 33 of 52 members were present with 106 guests and 2 corresponding members for a total of 117 attendees. There were 8 new membership requests. There was a quorum.

A.1.3   New Members

Ten new members were introduced to the SC and added to the roster. The new members were Mr. William Boettger, Mr. James Campbell and Mr. Eric Euvrard, Mr. Victor Garcia, Mr. Eric Humphrey, Mr. Kurt Kaineder, Ms. Susan McNelly, Mr. Robert Middleton, Mr. Durand Stacy, and Mr. Kiran Vedante.

A.1.4   Chairman’s Remarks

The Chair asked for a motion to approve the F16 Vancouver BC minutes that are posted on the IEEE website as well as displayed for several minutes for review. A motion was made by Dr. Zhang and seconded by Mr. Dave Geibel with no objections.

The Chair informed the SC that the CSA Group (formerly EEMAC) is looking for technical volunteers to review their bushing standard for possible revisions.

The Chair presented the Standards Status Report for bushings, see Appendix A. The Chair noted that Mr. Keith Ellis, the WG Chair for C57.19.00, has retired. The end of cycle for this document is 12/08/2020 as such he and the SC Secretary will review the document, define the Scope of a PAR, if deemed necessary, by the next meeting and then will form WGs or TFs as necessary and asked if there were any objections, none were received.

- Working Group and Taskforce reports

A.2.1   C57.19.00-2004 – Keith Ellis, Chair (Retired)

As discussed above, the SC Chair and Secretary will review and prepare an update for the SC by the next meeting.

A.2.2   WG PC57.19.01-2000 – Dr. Shibao Zhang, Chair; David Wallach, Secretary

See complete WG minutes in Appendix B of this report.

A.2.3   C57.19.100-2012 – Tommy Spitzer, Chair (not present); Jeff Benach, Secretary

Mr. Tommy Spitzer was not in attendance; but had prepared a small update on the first meeting of this WG which was read by the SC Secretary. See complete WG minutes in Appendix C of this report.

A.2.4   WG PC57.19.04 – Scott Digby, Chair; JD Brafa, Vice Chair; Rich vonGemmingen, Secretary

Mr. Digby informed the SC that the WG voted and would like to proceed to ballot with the document. The SC Chair made a motion for the document to proceed to ballot which was seconded by JD Brafa. The SC Chair asked if there were any objection which none were received and therefore the motion was deemed to have passed. See complete WG minutes in Appendix D of this report.

A.2.5   IEC/IEEE 65700.19.03 – Les Recksiedler (IEEE) and John Graham (IEC), Co-Chairs

The first dual logo standard was approved June of 2014, as such no meeting was held.

A.2.6   WG PC57.19.02 Distribution Transformer Bushings – Steven Shull, Chair; Ed Smith, Vice Chair

See complete minutes in Appendix E of this report.

A.2.7   TF Composite Bushings – John Graham, Chair; Secretary, Robert Middleton

The SC Chair displayed the TF report that had been submitted the previous year by the Chair of the TF who was not present. Mr. Sebastien Riopel asked to comment on the report as a member of the TF. Mr. Riopel informed the SC that the report that was submitted by the TF Chair had not been agreed too or even reviewed by the TF members prior to its submission to the SC Chair. Mr. Riopel stated that a new agreed upon definition for Composite Bushings was never determined and that industry survey had a very minute response rate, as such it could not be considered as accurate sampling of the industry. Mr. Riopel also wished to make it clear that the statement in the report in regards to changing the PF requirements were arbitrary, and as a manufacturer he has never received any such request from his customers which was also the case for at least one other manufacturer on the TF.

The SC Chair asked if there were any further comments or question in regards to the report, which there were none. See TF Report in Appendix F of this report.

- External Liaison Reports

A.3.1 IEC Bushing Standards Activity – John Graham, IEEE Liaison (not present)

Mr. Les Recksiedler volunteered to assist the SC as a backup for Mr. Graham. Mr. Recksiedler read/presented the submitted report to the SC. See complete report in Appendix G of this report.

A.3.2 IEEE 693 – Eric Weatherbee, IEEE Liaison

Mr. Eric Weatherbee informed the SC that 693 is still undergoing the ballot process. Currently the comment resolution TF is reviewing the 400 comments that were received and that a PAR extension was granted until the end of 2018.

A.3.3 WG PC57.160 Guide for PD Meas. in Bushings and Inst. Trans. – Thang Hochanh, Chair

See complete WG minutes in Appendix H of this report.

- Unfinished Business

A.4.1 500kV Bushings – Voltage Class by Jim Zhang

The Chair asked if the previous answer supplied by Mr. Fred Elliot had fully satisfied the question submitted by Mr. Zhang. Mr. Don Lamontagne said that he may be able to provide more feedback in regards to his colleague’s question. Mr. Lamontagne stated they operate at 525kV but their LTC has a 10% tolerance so it is possible they could exceed the allowable maximum of 550kV. Mr. Craig Stiegmeier stated that although the LTC has a stated tolerance of 10% it is highly unlikely that their system will actually ever exceed the 550kV maximum. Mr. Don Platts stated that the voltage ratings are not controlled by this SC but are governed under ANSI C84.1 and suggested that the submitter may wish to review that document. Mr. Lamontagne stated he would discuss the comments and recommendations with Mr. Zhang to see if he is satisfied with the information provided in regards to his inquiry.

- New Business

A.5.1 IEC inquiry in regards to making C57.19.100 into a dual-logo document

The Chair informed the SC that IEC had asked if there was interest in making C57.19.100, IEEE Guide for Application of Power Apparatus Bushings, into a dual-logo document. Mr. Les Recksiedler stated that in his opinion it would be very hard to do, as the IEC bushing standard covers more applications than the IEEE bushing standards. Dr. Shibao Zhang suggested that an IEC group review the current revision of the guide and provide areas that they would want to add, expand and or revise for review by the WG. The SC Chair said that he and the SC Secretary will reach out to the IEC group as a Communications Taskforce to see if they can provide some information prior to the Fall WG meeting.

A.5.12 Bushing Overload – Sanjib Som

Mr. Sanjib Som stated that he was unhappy to see the bushing overload discussion not continued under unfinished business as he was not satisfied with the conclusion at the end of the previous meeting and would like to open the issue back up for further discussion. Mr. Som stated that he was shocked to learn in the last meeting that the new RIP styles have no overload capabilities. However, he did state that would be fine if no bushings had any overload capabilities and it was specifically stated as such to eliminate the confusion within the industry. Mr. Amitabh Sarkar commented that he is also in agreement with Mr. Som.

Mr. Dave Geibel said that there is some misunderstanding on bushing requirements, the new material bushings cannot tolerate overloading because no bushing designs are required to be designed with any overload capabilities. The current rating stated on bushing name plates are in fact the current they are designed to operate at per the parameters specified in the standard. Even though OIP bushings designs are more tolerant to overloading, no bushings are designed with intrinsic overload capability.

Mr. Matt Weisensee also commented on his issues with the overload confusion and also would like to see something done to make it easier to understand what one should expect from their bushings. The Chair asked Mr. Weisensee if he could lead a Taskforce to establish some suggestions prior to the F17 SC meetings. There were three additional volunteers that joined the TF, Mr. Sanjib Som, Mr. David Geibel and Dr. Shibao Zhang.

- Adjournment 10:50 am