## Data Entry
Location |  |  | Transformer Bank | [6 empty] | Customer Count | [5 empty] | Annual Load Information
Company | State | Zip Code | ID | Type | Bank Nameplate kVA | Trf #1 Nameplate kVA | Trf #2 Nameplate kVA | Trf #3 Nameplate kVA | Bank Loading Limit (kVA) | Residential | Commercial | Industrial | Agricultural | Other | Total | Year | Number of Hours | kWhr Transformed =∑(ABS(xxx)) | RMS Load (kW) | Average Load (kW) | Maximum Load (kW) | Minimum Load (kW) | Load at System Peak (kW)
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Type
Transformer Bank Type | TrfType
Single-Phase Overhead | 1P-OH
Three-Phase Overhead | 3P-OH
Single-Phase Pad-mount | 1P-PM
Three-Phase Pad-mount | 3P-PM
Single-Phase Subsurface | 1P-SUB
Three-Phase Subsurface | 3P-SUB
Three-Phase Network | 3P-NET

## Example Data Entry
Location |  |  | Transformer Bank | [6 empty] | Customer Count | [5 empty] | Annual Load Information
Company | State | Zip Code | ID | Type | Bank Nameplate kVA | Trf #1 Nameplate kVA | Trf #2 Nameplate kVA | Trf #3 Nameplate kVA | Bank Loading Limit (kVA) | Residential | Commercial | Industrial | Agricultural | Other | Total | Year | Number of Hours | kWhr Transformed =∑(ABS(xxx)) | RMS Load (kW) | Average Load (kW) | Maximum Load (kW) | Minimum Load (kW) | Load at System Peak (kW)
PG&E | CA | 94954 | T-10874 | 3P-PM | 1000 | 1000 |  |  | 1400 |  |  | 1 |  |  | 1 | 2018 | 8783 | 4101661 | 683 | 467 | 1962 | 95.5 | 1245
PG&E | CA | 93306 | 12345-4589 | 1P-OH | 15 | 15 |  |  | 21 |  |  |  |  | 1 | 1 | 2018 |  |  |  | 4.67 | 19.624
PG&E | CA | 94105 | T-452 | 1P-PM | 25 | 25 |  |  | 48 | 12 |  |  |  |  | 12 | 2018 | 8759 |  | 4.12 | 3.99 | 17.655 | 0.709 | 12.3
PG&E | CA | 93905 | T-6803 | 3P-SUB | 750 | 250 | 250 | 250 | 900 |  | 3 |  |  | 1 | 4 | 2018 | 8783 | 12911 |  | 1.47 | 8.721 | 0.09
PG&E | CA | 93701 | 464-67593 | 3P-OH | 35 | 25 | 10 |  | 49 |  |  |  | 2 |  | 2 | 2018 |  |  |  | 1.47 | 180 | 0 | 180
Use TYPE from "Type" tab
Auto Total
kWhr/hours or sum of monthly Av kW divided by number of months
= (1) Sum of the squares of Hourly or 1/4 hourly kWHrs used.
(2) divided by # of readings
(3) Square Root
Use whatever identifier you wish, including just a phoney running number
Normal capability of the transformer bank
Sum of absolute value of kWhrs
Nameplate kVA of individual transformers in the bank.
Take care to exclude artificial zero from summer spring forward daylight savings time change