U.S. National Committee of the International Electrotechnical Commission,

A Committee of the American National Standards Institute

Technical Advisory Group for IEC TC 14

TAG Administrator:

National Electrical Manufacturers Association

1300 North 17th Street, Suite 1752, Rosslyn, VA  22209

Tel: 703-841-3252, fax: 703-841-3353

---------------------------------------------------------------------------------------------------------------------

MINUTES

| Document #: | NA | Current Standard Date: | NA |
| --- | --- | --- | --- |

| Document Title: | IEC TC 14 TAG |
| --- | --- |

| Chair: | Phil Hopkinson | Vice-Chair |  |
| --- | --- | --- | --- |
| Secretary | John A. Gauthier |  |  |

| PAR Date: | NA |  | PAR Expiration Date: |  | NA |  |
| --- | --- | --- | --- | --- | --- | --- |
| PAR Status: | NA |  |  |  |  |  |
| Current Draft Being Worked On: |  | NA |  | Dated: |  | NA |

| Meeting Date: | March 13, 2012 | Time: | 4:45 – 6:00pm |
| --- | --- | --- | --- |

| - Attendance: | - Members | 11 |
| --- | --- | --- |
|  | - Guests | 33 |
|  | - Guests Requesting Membership | 2 |
|  | Total | 44 |

PLACE OF MEETING:	Renaissance Hotel,

Nashville, Tennessee

Room:  West Ballroom

DATE AND TIME:	Tuesday, March 13, 2012

4:45 PM

PRESIDING OFFICER:	P. Hopkinson, Technical Advisor

| Members Present: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ahuja, Raj SPX Solutions Bunde, Jagdish Virginia Transformer Colopy, Craig Cooper Power Systems Crouse, John General Electric Hopkinson, Philip HVOLT Inc Kennedy, Sheldon NiagaraTransformer Locarno, Mario Doble Engineering Sampat, Mahesh EMS Consulting |  |  |  |  |
| Members Absent: Aho, David Cooper Power Systems Artega, Javier ABB, Inc Caskey, John NEMA Foldi, Joseph Foldi & Associates Foster, Derek Magnetics Design, LLC Girgis, Ramsis ABB, Inc Lackey, John Powernex Associates Marek, Richard DuPont Morehart, Walter Acme Electric Parkinson, Dwight Cooper Power Systems Powell, Paulette 3P Prevost, Thomas OMICRON Electronics Sim, H. Jin Waukesha Electric Systems |  |  |  |  |
| Guests: |  |  |  |  |
| Asamo, Roberto Jr ABB Ballard, Robert ABB Berocea, Emit ABB Boettger, William Boettger Transformer Bray, Frank Consultant Carpenter, Ken GE Energy Davis, Eric Burris & McDonnell Dennis, Scott ABB Degeneff, Robert UST Dorpmanns, Lac SMIT Transformers Frantus, Arthur Ghana Grid Golber, Matt Doble Engineering Graham, John Trench UK Gross, Detlev Power Diagnostix Hauschild, Wolfgang Consultant Lal, Bijay SPX Transformer Solutions Lopez-Fernandez, Xose Universidad de Vigo (Spain) Mukerji, Amit ABB Nordman, Hasse ABB Oy, Transformers Patterson, Wes Consultant Radbrandt, Ulf ABB (Sweden) Sharp, Mike Trench Ltd (Canada) Solano, William ABB Kuhlman Spiewak, Erin IEEE staff Tuli, Subhash T & D Consultant Inc Vees, Yos SMIT (Netherlands) Vir, Dharam SPX Transformer Solutions Wagenaar, Loren Wagen Trans Werelovey, Peter Consultant (Sweden) Wimberly, Barrett Alstrom Grid Wilson, Gordon National Grid (UK) Yale, Kipp Bechtael Power Corp Young, William ALSTROM Grid (UK) |  |  |  |  |

- CALL TO ORDER

The meeting was called to order, meeting guidelines reviewed and attendance recorded.  A quorum was present.

- APPROVAL OF THE AGENDA

The Agenda was approved as written.

4.	APPROVAL OF THE PREVIOUS MINUTES

Minutes of the meeting held October 31, 2011, in Boston, Massachusetts were approved as written.

5.	REVIEW AND UPDATE OF USNC ROSTERS FOR TC 14

Members reviewed the TAG roster and made necessary corrections. The chairman briefly outlined the purpose of the TAG and the rules regarding members.  He noted that the membership of the TAG has increased over the years.

.

- STANDARDS ACTIVITIES

Transformer efficiency discussions.  Mr ----  TC 14 committee is seeking to identify transformer efficiency at base load, up to 400 mkVA,  distribution transformers to 2500 kVA. The committee is seeking to deal with two levels of efficiency (average and higher levels) that will permit all countries to adopt. It was suggested that consideration be given to presenting a standard dealing with A and B factors.

It was noted that information/input is needed before the next TF meeting in July 2012.

Further technical discussion ensued on a proposal to use 50% rms load and no-load losses. On that it means that core loss equals load loss.

2012 Plenary Meeting of TC14

The chairman noted that the next plenary meeting of TC14 is schedule for 20 -21September 2012 in Manchester, England. The administrative circular regarding the meeting has been released. The chairman requested members indicate to him their interest in participating as a delegate.

Mr Hopkinson briefly reviewed the status of the following IEC TC14 standards

  - IEC 60076-1 Ed. 3.0 - Power transformers - Part 1: General (MT5 Convenor:  P. Hopkinson)

This document has been published.

  - IEC 60076-2 Ed. 3.0 - Power transformers - Part 2: Temperature rise for oil-immersed transformers (MT6 Convenor:  A. Bossi)

Project complete

  - IEC 60076-3 Ed 3.0:  Power transformers - Part 3: Insulation levels, dielectric tests and external clearances in air: (MT 60076-3 Convenor: Yukiyasu Shirasaka)

Project has been moved to the CDV stage.

  - IEC 60076-4 Ed. 1.0 (2002-06-06):  Power transformers - Part 4: Guide to the lightning impulse and switching impulse testing - Power transformers and reactors

No current maintenance activity for this standard.

  - IEC 60076-5 Ed. 3.0 (2006-02-07):  Power transformers - Part 5: Ability to withstand short circuit

No current maintenance activity for this standard.

  - IEC 60076-6 Ed 1.0 (2007-12-13):  Power transformers - Part 6: Reactors

No current maintenance activity for this standard.

  - IEC 60076-7 Ed 1.0 (2005-12-15):  Power transformers - Part 7: Loading guide for oil-immersed power transformers (Loading Guide)

No current maintenance activity for this standard.

  - IEC 60076-8 Ed 1.0 (1997-10-01):  Power transformers - Part 8: Application guide

No current maintenance activity for this standard.

  - IEC 60076-10 Ed. 2.0 - Power transformers - Part 10: Determination of sound levels (MT 60076-10 Convenor:  Dr. C. Ploetner)

It was reported that it is uncertain that the meeting scheduled for Osaka was held.

  - IEC 60076-10-1Ed. 1.0 (2005-10-17):  Power transformers - Part 10-1: Determination of sound levels - Application guide

It was reported that it is uncertain that the meeting scheduled for Osaka was held. Work to begin on revision at meeting scheduled for February 2012 (Osaka). It was noted by the chairman that there has been objections to including sound level tables, similar to the tables in NEMA TR-1, in the IEC document, as a reference, for the manufacturer and his customer

  - IEC 60076-11 Ed. 1.0 Power transformers - Part 11: Dry-type transformers

Consideration for issuing a new amendment remains active..

  - IEC 60076-12 Ed. 1.0 (2008-11-05):  Power transformers - Part 12: Loading guide for dry-type power transformers

No current maintenance activity for this standard.

  - IEC 60076-13 Ed 1.0 (2006-05-24):  Power transformers - Part 13: Self-protected liquid-filled transformers

No current maintenance activity for this standard.

  - IEC 60076-14 Ed.1.0 - Power transformers - Part 14: Design and application of liquid-immersed power transformers using high-temperature insulation materials (MT4 Convenor R. Marek)

Mr. Marek is the US Expert and reported that he expected a CDV to be issued  shortly.

  - IEC 60076-15 Ed 1.0 (2008-02-27):  Power transformers - Part 15: Gas-filled power transformers

A revision is under consideration.

  - IEC 60076-16 Ed. 1.0 - Power transformers - Part 16: Transformers for wind turbines applications (WG31 Convenor M. Sacotte)

Project complete, published 2011-08-25.

Dr H. Shertukde has agreed to serve on the IEEE/IEC task force. It is expected that once approved meeting will be held alternately in the US and in Europe.

.

  - IEC/TR 60076-17 Ed. 1.0 - Evaluation of electromagnetic fields around power transformers

Draft approved for publication

  - IEC 60076-18 Ed. 1.0 - Power transformers - Part 18: Measurement of frequency response (PT 60076-18 Convenor: Patrick Picher)

Sheldon Kennedy reported that the meeting held earlier this year was both  productive and successful

  - IEC 60076-19 TS Ed.1.0 - Rules for the determinations of uncertainties in the measurement of losses in power transformers (PT 60076-19 Convenor A. Bossi)

No US expert identified.

  - IEC 60076-20 Power Transformers Part 20: Energy Efficiency (PT 60076-20 Convenor: M. Sacotte)

Mahesh Sampat is the US expert.  First meeting held 2011-05, second meeting to be scheduled.

  - IEC 60076-21/IEEE C57.15 - IEEE Standard Requirements, Terminology, and Test Code for Step-Voltage Regulators

This is a dual logo standard (IEC/IEEE).  It has been approved for publication.

  - IEC 60214-1 Ed.2.0 - Tap changers - Part 1:  Performance requirements and test methods (MT 60214-1 Convenor A. Kraemer)

Craig Colopy is the US expert.  CD expected in October 2011 has been postponed due to delays in the revision work on IEC 60076-3.with a CDV which is now planned for 2012-08.

  - IEC 60214-2 Ed. 1.0 (2004-10-14):  Tap-changers - Part 2: Application guide

No current maintenance activity for this standard.

  - IEC 61378-1 Ed. 2.0 - Convertor transformers - Part 1: Transformers for industrial applications (MT7 Convenor U. Piovan)

Project complete, published 2011-07-26.

  - IEC 61378-2 Ed. 1.0 (2001-02-08):  Convertor transformers - Part 2: Transformers for HVDC applications

Work is starting on a revision to this standard.  A call for experts will be circulated by TC14.

  - IEC 61378-3 Ed. 1.0 (2006-04-27):  Converter transformers - Part 3: Application guide (MT 61378-3 Convenor U. Piovan)

Rick Merck reported that work on thedocument in underway.

  - IEC 62032/IEEEC57.135 (Guide for the application, specification, and testing of phase-shifting transformers)

Raja has replaced Jin Sim for  this work.

- OTHER ISSUES

  - Scope change for TC14

A proposed revised scope that was approved by TC14 was approved by the SMB.

  - Establishment of Liaison with IEEE

Establishing Cat D liaison as the WG/MT level of TC 14 remains under consideration. It was noted that under IEC rules such liaisons are initiated by the WG.MT.

It was noted that more US participation in IEC is needed for more harmonization of IEC and IEEE standards.

###### 9.	DATE AND PLACE OF THE NEXT MEETING

The next meeting will be held in October 2012, in Milwaukee, WI, during the IEEE Transformer committee meetings.

- ADJOURN

Meeting adjourned 6:15 pm

| Reported By: | John A. Gauthier | 13 March 2012 |
| --- | --- | --- |