## Slide 1: Power System Relaying Committee
Michael Thompson

## Slide 2: PSRC Subcommittees
B Advisory
C System Protection
D Line Protection
H Relaying Communications
I Relaying Practices
J Rotating Machinery Protection
K Substation Protection

## Slide 3: Substation Protection
Chair: Michael Thompson
Vice-Chair: Don Lukach
Scope: Evaluate and report on methods used in protective relaying of substations and the consumer or independent power producer, associated equipment and performance of these protective systems. Develop and maintain relaying standards which relate to this equipment and the utility-consumer interface.

## Slide 4: Substation Protection Subcommittee
C37.91 Guide for Protecting Power Transformers
C37.95 Guide for Protective Relaying of Utility-Consumer Interconnections
C37.99 Guide for the Protection of Shunt Capacitor Banks
C37.108 Guide for the Protection of Network Transformers
C37.109 Guide for the Protection of Shunt Reactors
C37.112 Standard Inverse-Time Characteristic Equations for Overcurrent Relays
C37.116 Guide for Protective Relay Application to Transmission-Line Series Capacitor Banks
C37.119 Guide for Breaker Failure Protection of Power Circuit Breakers
C37.234 Guide for Protective Relay Applications to Power System Buses
PC37.245 Guide for the Application of Protective Relaying for Phase Shifting Transformers

## Slide 5: Relaying Practices Subcommittee, Jeff Pond
C37.90 Standard for Relays and Relay Systems Associated with Electric Power Apparatus
C37.90.1 Standard for Surge Withstand Capability (SWC) Tests for Relays and Relay Systems Associated with Electric Power Apparatus
C37.90.2 Standard for Withstand Capability of Relay Systems to Radiated Electromagnetic Interference from Transceivers
C37.90.3 Standard Electrostatic Discharge Tests for Protective Relays
C37.110 Guide for the Application of Current Transformers Used for Protective Relaying Purposes
PC57.13.1 Guide for Field Testing of Relaying Current Transformers
PC57.13.3 Guide for Grounding of Instrument Transformer Secondary Circuits and Cases