13.3 CIGRE liaison report JC Riboud

Study Committee A2 Transformers

Last SC committee met in Moscow last June

Main members

Chairman is Mr Pierre Boss (CH) 	pierre.boss@ch.abb.com

Secretary is Mr Claude Rajotte ( Ca) pierre.boss@ch.abb.com

The SC A2 has 4 advisory groups :

Transformer technology leaded by H Reijnders 	h.f.reijnders@smit-trafo.nl

Transformer users leaded by C Rajotte		rajotte.claude@hydro.qc.ca

Tranversal cigre activityleaded by P Lorin		pierre.lorin@ch.abb.com

Strategic planning leaded by P Boss			pierre.boss@ch.abb.com

Hot Topic

- Corrosive sulphur in oil TF A2 31

A new task force was set up in Moscow which already achieved its first target with the preparation of a term of reference ready for publication in electra.

Mats Dahlund mats.o.dahlund@se.abb.com

Ongoing Work:

- Liaison with D1 01 oil impregnated paper

D1 01 leaded by lars Lundgaart lars.lundgaard@sintef.no deals with paper fluid impregnated systems. Liaisons have been created with TF 13 on oil maintenance : N Dominelli from BC Hydro and with TF 12 on furanes : L Cheim cheim@siemens.com

- JWG A2/ A3 B3/ 21 Electrical environment

Has issued a report for publication in electra

M Glinkowski mietek.glinkowski@us.abb.com

- A2 23 Life time data management

Publication forseen in Electra soon as final revision of the document was held in august

N Fantana nicolaie.fantana@de.abb.com

- A2 24 thermal performances:

J Declercq jan.declercq@pauwels.com

- A2 25 bushing reliability

A survey has been sent a few failure have been reported by utilities and will be compiled.

A2 26 Mechanical condition assessment



P Picher patrick.picher@hydro.qc.ca.

- A2 27 recommendation for condition monitoring facilities

P Jarman Paul.Jarman@ngtuk.com

- JWG A2 B4 28 HVDC transformers

M Saravolac milan.saravolac@areva-td.com

- A2- 30 Moisture:

Viktor Sokolov sokolov@ztz-service.com.ua

- A2- 29 reliability

K Ryen kryen@broadpark.no

### Future publications

SF6 transformers by Dennis Allan

Transients in Russian grid  by Lokhanin

Miscellaneous

### Peter Heinzig will prepare a term of reference for 800 kV transformer specification which will be used as the basis of a new task force.

### Next Session Paris 2006

The preferential subjects are:

PS1 : Transformer reliability on technical , economical and strategic aspect.

PS2 : Phase shifter application and specification

PS3 : Effect of transients on transformers performances

You can find more on www.cigre-scA2.org