## Insulating Fluids Subcommittee (R.K. Ladroga, Chair; S.J. McNelly, Vice-Chair)

### Introduction/Attendance

The Insulating Fluids Subcommittee met in Minneapolis, Minnesota on Wednesday, October 17, 2007 with 26 members and 44 guests present.  The following 8 guests requested membership:

Alfonso Nelson	Ibrahim Shteyh

Kent Brown	Don Platts

Jim Dukarm	Shuzhen Xu

Josh Herz

Meeting Agenda

1.	Introductions

2.	Patents

3.	Minutes Approval

4.	WG Reports

5.	New Business

6.	Old Business

7.	Adjourn

Introductions were made.

### Approval of Meeting Minutes and Patent Disclosure

As required in IEEE SA Standard Boards by-law, Section 6.3.2, the IEEE patent disclosure requirements were discussed and a request was made for disclosure of any patents that may be related to the work of the WG.  No new disclosures were forthcoming.

The Minutes of the Dallas, Texas meeting were approved as written.

### Current Subcommittee Business

#### C57.104 – IEEE Guide for the Interpretation of Gases Generated in Oil – Immersed Transformers

Tuesday, October 16, 2007

Minneapolis, Minnesota

The meeting was called to order by Rick Ladroga at 1:50 pm on Tuesday, March 13, 2007.  Vice Chair William Bartley and Secretary Susan McNelly were also in attendance.  There were 30 members, 64 guests, and 10 guests requesting membership.

Guests requesting membership were:

Claude Beauchemin	Dharam Vir

Michel Duval	Herman Vogel

Kent Haggerty	Shuzhen Xu

David Hanson

Tamyres Machado Junior

Prem Patni

Approval of minutes from the Spring 2007 meeting in Dallas, Texas was requested.  The minutes were approved as written.

The IEEE Patent disclosure requirements were discussed and a request was made for disclosure of any patents that may be related to the work of the WG.  There were no responses to the request for disclosure.

Introductions of attendees were made.

Update on status of recent ballot on C57.104:

The ballot has closed with 115 affirmative votes, 3 negative votes, and 2 abstention votes.  There were 120 votes received for 83% returned and 2% abstention.

A recirculation ballot committee will need to be formed to deal with resolution of the ballot comments.  Rick Ladroga, Tom Prevost, Susan McNelly, Claude Beauchemin, and Luiz Chiem will be on the comment resolution committee.

Discussions for New Guide:

A new PAR request will be filed to start over with an immediate revision to the guide to address the remaining issues that have been raised as soon as the ballot process with the existing document is complete.

Status reports from Task Forces:

- Framework:

Jim Dukarm - Chair

Tim Raymond

Dave Hanson

Jim Graham

Presentation by Jim Dukarm – “A revised framework for the transformer DGA Guide.

Design Goals:

- Clear concise tutorial covering the essentials

- Technical details included in an appendix or referred to external publications

- Appropriate new features with discussion of appropriate grafics and case history examples

- Provide enough practical information for someone to use the guide, but avoid “table of sacred numbers” if possible.

Document Structure:

- Introductory text

- Scope, limitations, definitionc, etc.

- Nature, purpose, and application of DGA

  - Nature  - brief overview of entire process

  - Purpose – To improve safety and reliability while reducing cost.

  - Application – Risk management, detection and diagnosis of abnormalities, measurement verification and QA, DGA contexts (initial, screening, surveillance, monitoring, verification and QA).

- DGA Norms

  - Characturistics of DGA data

  - Periodic variation

  - Skewed distributions

  - Measurement uncertainty

  - Derivation, use, and maintenance of norms.  It is important to understand the DGA norms are neither purely statistical in nature nor universally applicable.

  - Variables and limit values

    - Minimum limits for gas concentrations

    - Combustible gas increments – baselines and limits

    - Combustible gas rates of increase – window and limits

    - CO2/CO

    - Acetylene/Hydrogen

    - Oxygen/Nitrogen

- DGA Data Interpretation

  - Data quality check before interpretation – List of most common problems

  - Initial assessment – First or isolated sample

  - Screening – Look for signs of suspicious change and classify acc to risk

  - Surveillance – Evaluate rates of change, get diagnosis, watch for danger

  - Monitoring

  - Measurement QA or verification

  - Use of graphics

- Addenda

  - Case histories – normal operation, faults, stray gassing, etc.

  - Graphical representations – types of charts and suggested uses

  - Diagnostic methods – Duval triangle, Rogers/IEC ratio

  - DGA calculations with measurement uncertainty – increments, average rates, ratios

  - Physical properties of gases – solubility, partial pressure, adsorption

Question – Is there a size transformer (volume of oil) that this guide will apply to.  Response – For small pole top type units, the cost to do the analysis is not necessarily appropriate.  The information itself is valid for all size units regardless of oil volume. For a small tank, there are less Joules of energy than for a large tank which evens things out.  The guide needs to address this with documentation showing that this is true.

- Data:

Tom Prevost – Chair	Claude Beauchemin

Dave Hanson	Jim Dukarm

Paul Boman	Dave Wallach

Paul Mushill	Jim Graham

Bob Ganser Jr	Joe Kelly

Tom reported that work is in progress and presented the input fields that we will be looking for when collecting the required data.

Manufacturer

S/N

Maximum or Base MVA

HV rating

LV rating

TV rating

Manufactured Year (4 digit year)

Transformer type (core form or shell form)

Preservation System Type (Gas blanketed, conservator, etc.)

Cooling Type (ONAN, ONAF, etc.)

LTC, Degree C Rise (55 or 65C)

Transformer Use (GSU, Transmission, Distribution, other)

Insulating Liquid (Fluid type)

Liquid volume (units)

Sample Date

Reason for sampling (routine, failure, other)

Repaired, Degassed, or Date of last reprocessing

Location (LTC, Bushing, Main Tank)

comment section

Inhibitor Content

Gases: H, O, N, Methane, CO, Ethane, CO2, Ethylene, Acetylene

comment section

Loading level

Items underlined in italics were additions made during discussion.  Some of these items may be more appropriate as a list of items that should be tracked on units, but may be difficult to obtain from historical databases.

- Case Studies:

Brian Sparling –Chair	Jim Graham

Kent Haggerty 	Paul Boman

Dave Wallach	Bob Ganser Jr.

Dave Hanson	Paul Mushill

Tim Raymond	Joe Kelly

Norman Field

No report at this time.

- Diagnostic Methods

Tim Raymond – Chair	Lance Lewand

Michel Duval	Joe Kelly

Jerry Corkran	Norman Field

Michel Duval made a presentation on the proposed changes to the guide.

Other Business:

Bill Bartley will be moving on in his new roll as Standards SC Chair.  Rick Ladroga nominated Susan McNelly to replace Bill as Vice Chair.  A motion was made and passed.

The meeting was adjourned at 3:10 pm.

Rick Ladroga

WG Chair

Susan McNelly

WG Vice Chair and Secretary

#### C57.106 – IEEE Guide for Acceptance and Maintenance of Insulating Oil in Equipment

Tuesday, October 16, 2007

Minneapolis, Minnesota

The revision for the IEEE “Guide For Acceptance and Maintenance of Insulating Oil in Equipment,” C57.106 –2006, was completed by Jim Thompson, Working Group Chair, and TV Oommen, Co-Chair.  It was published on June 6, 2007 and made available in hard copy as of July 3, 2007.

October 17, 2007

James A. Thompson

#### C57.121 –IEEE Guide for Acceptance and Maintenance of Less Flammable HydroCarbon Fluid in Transformers

There was no WG meeting for this Guide at the Minneapolis, Minnesota meeting.  This standard will be allowed to expire.

#### C57.130 - IEEE Trial-Use Guide for Dissolved Gas Analysis During Factory Temperature Rise Tests for the Evaluation of Oil-Immersed Transformers and Reactors

There was no WG meeting for this Guide at the Minneapolis, Minnesota meeting. A request for a one year extension for this Guide was filed Monday, October, 15, 2007.  Tom Prevost would like to form a ballot resolution committee to resolve the outstanding ballot comments.  Kent Haggerty, Dave Wallach, Juan Castellanos, Rick Ladroga, and Tom Prevost have volunteered to serve on the ballot resolution committee.

#### C57.139 - Draft IEEE Guide for Dissolved Gas Analysis Of Load Tap Changers

Tuesday, October 16, 2007

Minneapolis, Minnesota

Fredi Jakob called the WG meeting to order at 11:00 am, Tuesday, October 16, 2007.  WG Secretary Susan McNelly was also present.  There were 30 members and 28 guests present with 3 guests requesting membership.

Guests requesting membership were:

Michel Duval

Don Anderegg

Luiz Cheim

Agenda:

- Welcome and Introduction

- Patent considerations

- Approval of Spring 2007 minutes

- Status of the Guide

- Joint Presentation by Dr. James Dukarm and Ms. Shuzhen Xu

- What next?

- Adjourn

The IEEE Patent disclosure requirements were discussed and a request was made for disclosure of any patents that may be related to the work of the WG.  There were no responses to the request for disclosure.

Approval of minutes from the Fall 2006 meeting in Dallas, Texas was requested.  The minutes were approved as written.

A draft of the Guide is expected to be ready for discussion prior to and at the Spring 2008 meeting in Charlotte, NC.  We are currently working on a tight time schedule due to the fact that our work has been extended for only a short period.  In order to get the draft ready for the next meeting, members who can join our subgroup and contribute to the development of the draft were requested to come forward.

Jim Dukarm and Shuzhen Xu have made significant progress in their statistical studies and jointly presented their results.  The presentation is attached.

Several people also volunteered to review the draft document prior  to the Spring 2008 meeting.

The meeting was adjourned at 12:20 pm.

Fredi Jakob

Chair

Susan McNelly

Secretary

#### C57.147 - IEEE Guide for Acceptance and Maintenance of Natural Ester Fluids in Transformers

Tuesday, October 16, 2007

Minneapolis, Minnesota

The WG meeting was called to order at 8:05 am, on Tuesday, October 16, 2007 by the working group Chair, Patrick McShane.  Vice Chair, Clair Claiborne, and Secretary, Susan McNelly were also present.  There were 13 members present and 44 guests, with 5 guests requesting membership.  Since the Guide has been balloted, no additional membership requests will be entertained.

# Meeting Agenda

- Introductions

- Patents

- Minutes

- Update

- Review last revisions

- Vote to Submit for Balloting (Recirculation)

- New Business

- Adjourn

As required in IEEE SA Standard Boards by-law, Section 6.3.2, the IEEE patent disclosure requirements were discussed and a request was made for disclosure of any patents that may be related to the work of the WG.  No new disclosures were forthcoming.

The minutes for the Spring 2007 meeting were approved as submitted and recorded on the website.

Update:

Since the last meeting, the standard went to Ballot and the results are now available. The requirement for >75% balloting was met. The ballot had 98.8% approval, with one negative (34 comments).  Matt Ceglia, from IEEE, addressed the reason why a recirculation ballot is required.  When a negative ballot with comments is received, a recirculation is required.  For the subsequent round(s) of balloting new negatives (comments received on sections previously commented or sections that the working group modified prior to the recirculation) could also cause additional recirculations.  Comments from subsequent rounds of balloting that are not tied to sections previously open for comment, do not require mitigation.

The PAR for this standard will expire at the end of the year.  An extension has been filed and will be reviewed for approval by REVCOM.  A PAR extension has been requested due to the recirculation ballot that will be required.

Formation of two task forces involving natural ester based dielectric coolants were discussed at the last meeting and approved at the Fluid Subcommittee meeting.

- TF on DGA for Natural Esters – Paul Bowman has agreed to chair this TF

- TF for Guide for Retrofill of Natural Ester Fluids  – Jim Graham has agreed to chair this TF

Key ballot comments were reviewed for the remainder of the meeting.

ASTM References – Eliminated D 3613 as this standard has been recently withdrawn.  Several other ASTM standards were also added.

Several minor grammatical or spelling corrections were made

A revised draft with ballot comments incorporated, as appropriate, and a listing of the ballot comments and responses to these comments will be submitted for recirculation ballot as soon as possible.

The Chair thanked all the WG and other participants contributing to this proposed guide.

A comment was made that IEC has recently formed a working group for a Natural Ester Fluid.

The meeting was adjourned at 9:15am.

Respectfully Submitted

Patrick McShane

Working Group Chair

Clair Claiborne

Working Group Vice-Chair

Susan McNelly

Working Group Secretary

#### Furan TF

Monday, October 15, 2007

Minneapolis, Minnesota

The working team or subteam of the Furan Task Force met at 3PM on Wednesday, October 17, 2007.  Team members Luiz Cheim, Kent Haggerty, Don Platts, Tom Prevost, and Shuzhen Xu participated.

After discussing the path forward options, the team agreed that the next steps should be as follows:

- Develop a white paper (approximately 8 pages) incorporating the major issues and current knowledge on Furans.  Paper should include the following sections:

  - Scope or Purpose

  - History of Furans

  - How Furans are formed in oil

  - Current ongoing work and studies by various companies and organizations including CIGRE, testing companies, utilities, and users globally.

  - Correlation of DP and Furan data from known databases and studies.  Connect insulation age with Furans.  Also compare 55 to 65 degree rise transformers.  Correlation should include both non-thermally and thermally upgraded paper.  Include guidance in paper on where paper samples should be taken from transformer winding when measuring DP.

  - Use of Furans for diagnostics and known limitations such as partitioning of oil, factors that can affect readings and values, types of transformers and applications, loading, oil quality, etc.  (How do you move from Laboratory values to real life?)

  - Key learnings from previous studies by CIGRE

  - Technical position, additional data gathering, and objective of data analysis.

  - Conclusions

- Concurrent with development of a white paper, continue to gather Furan data as part of the data survey for DGA.

- Set up process to more effectively obtain DP measurement data from failed transformers.  Again, provide guidance on where in transformer to gather samples.

- Expand Task Force membership to include utilities and testing companies.

Tom Prevost agreed to contact Randy Stebbins of SD Myers for information and technical data from his technical paper.  Don Platts will contact additional utilities.

Shuzhen Xu and Luiz Cheim agreed to develop a draft of the paper for review by December.  Goal would be to have a draft of the white paper ready for review by the task force by the next meeting in Charlotte, NC.

Respectfully Submitted,

Kent Haggerty, TF Chair

### Old Business

C57.130 – IEEE Trial-Use Guide for the Use of Dissolved Gas Analysis During Factory Temeprature Rise Tests for the Evaluation of Oil-Immersed Transformers and Reactors - The PAR expires at the end of this year.  Tom Prevost and Rick Ladroga will work together to will try and obtain the ballot resolution information and to determine what is required to move forward with this Guide.

Patrick McShane announced that a new task force concerning DGA for Natural Ester Fluids has been formed.  Paul Bowman has volunteered to chair this task force.

Patrick McShane announced that a new task force concerning the application Guide for the use of Natural Ester Fluids (installation, filling, hold times, cold start, etc.) has been formed.  Jim Graham has volunteered to chair this task force.

Jim Thompson brought up that the IEEE Std 637 – IEEE Guide for the Reclamation of Insulating Oil and Criteria for its Use has been reaffirmed.  Tom Prevost recommended that the next time this guide is revised, that consideration be given to give it a C57 designation so that is falls under the umbrella of the transformer standards numbering.

### New Business

Due to Bill Bartley moving on to a new role as Chair of the Standards Committee, Susan McNelly will step up to fill his vacated Fluids SC Chair position.

The reaffirmation for the IEEE “Guide For Reclamation of Insulating Oil and Criteria For Its Use,” Std 637 – 1985, was completed by Jim Thompson, Working Group Chair in August of 2007.  The initial ballot and re-circulation ballot resulted in an 86 % response rate and a 95 % approval rate.  RevCom approved the document reaffirmation on September 26, 2007.

It was announced that a Study Group would be formed regarding the revision of the IEEE Std 637 – 1985 Guide.  Jim Thompson volunteered to chair a future working group and three people volunteered to help.  Tom Prevost suggested a revised document name to include a C57 number rather than an IEEE Standard number to provide a more uniform reference for the document.

Ray Bartnikas reported that an IEC TC-10 meeting on insulating fluids will be held next week.  They are still quite concerned with corrosive sulfur, which has been more problematic in Europe.  Bipin Patel asked if there were any surveys concerning the corrosive sulfur issue.  Ray indicated only that there had been a considerable number of failures in Brazil and Italy, but no definitive results were available.  Rick Ladroga indicated that Doble had provided a tutorial on the corrosive sulfur issues a couple of years ago.  Luiz Cheim indicated that there is a new test available that will be proposed by the IEC task force.  This new test can better detect the presence of the corrosive sulfur.  This new test method is comparable to the ASTM 1275, method B test.

Ray also indicated that there has been considerable interest in IEC to develop a standard for Natural Ester Fluids.

### Adjournment

The Subcommittee adjourned at 12:12 pm.

Next Meeting:

The Insulating Fluids Subcommittee and its Working Groups will next meet in Charlotte, North Carolina during the period of March 16 – 20, 2007.

Respectfully Submitted

Richard Ladroga

Fluids SC Chair

Susan McNelly

Fluids SC Vice-Chair