U.S. National Committee of the International Electrotechnical Commission,

A Committee of the American National Standards Institute

Technical Advisory Group for IEC TC 14

TAG Administrator:

National Electrical Manufacturers Association

1300 North 17th Street, Suite 1752, Rosslyn, VA  22209

Tel: 703-841-3252, fax: 703-841-3353

---------------------------------------------------------------------------------------------------------------------MINUTES

PLACE OF MEETING:	Hilton Toronto Downtown

145 Richmond Street West

Toronto, Ontario, Canada M5H 2L2

DATE AND TIME:	Monday, October 25, 2010

8:15 AM

PRESIDING OFFICER:	P. Hopkinson, Technical Advisor

| Members Present: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | C. Colopy |  | Cooper Power Systems |
|  |  | P. Hopkinson |  | Hvolt, Inc., Technical Advisor |
|  |  | M. Kennedy |  | Doble Engineering |
|  |  | S. Kennedy |  | Niagara Transformer |
|  | M. Locarno |  |  | Doble Engineering |
|  |  |  | R. Marek | Dupont Advanced Fibers Systems |
|  |  | H.J. Sim |  | Waukesha Electric Systems |
|  | S. Choinski |  |  | NEMA Staff, TAG Administrator |

| Members Absent: |  |  |  |
| --- | --- | --- | --- |
|  | R. Ahuja |  | Waukesha Electric Systems |
|  |  | J. Corkran | Cooper Power Systems |
|  |  | L. Dix | Quality Switch |
|  |  | J. Foldi | Foldi & Associates |

| Others present: |  |  |
| --- | --- | --- |
|  | T. Aikens | Virginia Transformer |
|  | J. Brasher | ABB, Inc. |
|  | D. Brender | Copper Development Assn. |
|  | J. Britton | Phenix Technologies |
|  | N. Brush | Consultant |
|  | D. Buckmaster |  |
|  | J. Caskey | NEMA |
|  | J. Castellanos | Prolec GE |
|  | M. Chaarilang | Xi’ian XD Transformer Co. Ltd. |
|  | D. Cherry | ABB |
|  | M. Christini | Ansoft Inc. |
|  | C. Claiborne | ABB |
|  | L. Coffeen | NEETRAC |
|  | B. Darovny | Siemens |
|  | T. Drees | Cindus Corporation |
|  | E. Garcia | Siemens |
|  | I. Garcia | Siemens Transformadores |
|  | R. Girgis | ABB |
|  | J. Graham | Trench UK |
|  | M. Gromlovits | Federal Pacific |
|  | W. Hauschild | HighVolt Prüftechnik |
|  | M. Heathcote | Martin Heathcote Associates LTD |
|  | P. Heineig | Weidmann |
|  | P. Jarman | National Grid, IEC TC14 Chairman |
|  | L. Johansson | T&D Products, Ltd. |
|  | A. Kraemer | Reinhausen |
|  | A. Kraetge | Omicron |
|  | E. Lemke | Doble Lemke |
|  | T. Martin | Weschler Instruments |
|  | J. McBride | JMX Services, Inc. |
|  | C. P. McShane | Cooper Power Systems |
|  | R. McTaggart | Trench Ltd. |
|  | T. Melle | Waukesha |
|  | R. Nicholas | MTC Transformers |
|  | R. Nicholas | ABB |
|  | H. Nordman | ABB Oy, Transformers |
|  | P. Patel | ABB |
|  | J. Puri | Transformer Solutions, Inc. |
|  | M. Rajadhyaksha | Huntsman Advanced Materials |
|  | M. Sampat | EMS Consulting, Inc. |
|  | M. Schenk | Siemens |
|  | A. Shahrodi | Neeltran |
|  | B. Soule | Altsom Grid (Areva T&D) |
|  | D. Stankes | 3M IPT |
|  | R. Szewczyk | DuPont Poland |
|  | E. teNyenhuls | ABB |
|  | L. Tong | SYZT |
|  | D. Wagner | Hydro One |
|  | I. Werelius |  |
|  | P. Werelius |  |

- CALL TO ORDER

The meeting was called to order, meeting guidelines reviewed and attendance recorded.

- APPROVAL OF THE AGENDA

The Agenda was approved as written.

4.	APPROVAL OF THE PREVIOUS MINUTES

Minutes of the meeting held March 8, 2010, in Houston, Texas, were approved as written.

5.	REVIEW AND UPDATE OF USNC ROSTERS FOR TC 14

Circulation of documents – there is limited circulation of documents beyond the official TAG members.  This is to promote official membership in the TAG and there are copyright issues with the documents.  There is a need to get the expertise beyond the official TAG members for some documents.

Resource expert – the TAG has the ability to appoint 1 member as a RE.  This is an expert whose expertise is essential for the TAG and is unable to pay the TAG fee.  There is no RE currently appointed for TC14.

Category D Liaison – there is an opportunity to establish Cat D Liaison between IEEE and specific IEC WGs/MTs.  A request would be submitted by IEEE to IEC for approval.  This is for active participation in an IEC WG/MT.

Cat A Liaison – this liaison is for IEC and IEEE to share information only.

It was noted that participating as a corresponding members on IEC Working Groups does not give any advantage for the work being done in the IEC.  It is the same as a National Committee submitting comments but not attending the WG/MT meeting.  One should to attend the Working Group meetings to influence the work.

- 2010 PLENARY MEETING

The next meeting of TC14 will be held November 18-19, 2010 in Beijing, China.

A liaison in IEC may need to be established with TC9 for traction transformers.  TC9 is revising a standard that may be of interest to TC14.

Plenary 2011 – To be discussed in Beijing, but there will likely be a meeting in 2011.  IEC General Meeting is scheduled for Melbourne, but there may be funding issues to travel for the officers/members.  US may offer to host in Waukesha/Milwaukee.

- STANDARDS ACTIVITIES

  - IEC 60076-1 Ed. 3.0 - Power transformers - Part 1: General (MT5 Convenor:  P. Hopkinson)

There were some comments from IEC Central Office that were missed.  Draft was updated and are waiting for French version of the document before it will be circulated as FDIS.

  - IEC 60076-2 Ed. 3.0 - Power transformers - Part 2: Temperature rise for oil-immersed transformers (MT6 Convenor:  A. Bossi)

There were some comments from IEC Central Office that were missed.  Draft is being with the convenor for updating and will need the French version before it will be circulated as FDIS.

  - IEC 60076-3:  Power transformers - Part 3: Insulation levels, dielectric tests and external clearances in air: (MT 60076-3 Convenor: Yukiyasu Shirasaka)

Mr. Raj Ahuja is the US expert.  14/643/CD was circulated, next meeting will be in November in Beijing.  It will likely take more than 1 meeting to address all of the comments.

  - IEC 60076-10 Ed. 2.0 - Power transformers - Part 10: Determination of sound levels (MT 60076-10 Convenor:  Dr. C. Ploetner)

IEC is addressing similar issues as IEEE.  A report will be given at Ramsis Girgis’ meeting.  European sound levels are generally lower than US.  Noise abatement is an issue especially when transformers are installed in residential areas.

At the Beijing meeting, discussion on guidelines for low noise transformers may need to be discussed.  Low noise transformers are not required for all applications.

There are no US experts for this MT.  Ramsis Girgis and Jeewan Puri are experts for the TAG.

  - IEC/TS 60076-14 Ed.1.0 - Power transformers - Part 14: Design and application of liquid-immersed power transformers using high-temperature insulation materials (MT4 Convenor R. Marek)

Upgrade the document from TS to IS.  CD scheduled for January 2011, and the target date for publication as a standard is January 2013.  First MT meeting was recently held, next meeting scheduled for mid 2011.

This is similar to IEEE PC57.154, though there will be differences between both documents.

  - IEC 60076-16 Ed. 1.0 - Power transformers - Part 16: Transformers for wind turbines applications (WG31 Convenor M. Sacotte)

WG recently met to complete addressing comments from CDV.  If completed, next step will be to circulate as FDIS.

No US expert identified.  Document of interest to IEEE TF Wind Power Transformers.

  - IEC/TR 60076-17 Ed. 1.0 - Evaluation of electromagnetic fields around power transformers

Draft approved for publication.  Mr. Jarman is working on editorial changes.

  - IEC 60076-18 Ed. 1.0 - Power transformers - Part 18: Measurement of frequency response (PT 60076-18 Convenor: Patrick Picher)

Preparing for CDV, likely to be circulated in November/December.

Matt Kennedy and Mario Locarno are the US experts.

  - IEC 60076-19 TS Ed.1.0 - Rules for the determinations of uncertainties in the measurement of losses in power transformers (PT 60076-19 Convenor A. Bossi)

New project, gathering members.  It is based on a CENELEC document and Mr. Jarman reports that it is difficult for manufacturers to comply.  No US expert identified.  Ramsis Girgis and Jin Sim should consider participating.

  - IEC 60214-1 Ed.2.0 - Tap changers - Part 1:  Performance requirements and test methods (MT 60214-1 Convenor A. Kraemer)

Revision of document.  1st meeting on revision was in September.  Main topic of discussion is resistor-type tap-changers.  Next meeting will be December in Tokyo.

Craig Colopy is the US expert.

  - IEC 61378-1 Ed. 2.0 - Convertor transformers - Part 1: Transformers for industrial applications (MT7 Convenor U. Piovan)

Waiting for circulation as FDIS.  Sheldon Kennedy is the US expert.

  - Future IEC 60076-XX: Power transformers - Part XX: Energy efficiency for distribution transformers

New project.  Based on a CENELEC document, which includes efficiency tables.  Not desired to have efficiency for US and the rest of the world, but need to make sure that the correct figures/parameters from the NCs are included.

C57.12.90 has and Appendix with conversion parameters from 50 Hz to 60 Hz

No US expert identified.

  - Other proposed standards

    - Proposal to adopt all parts of European Standard series EN 50216 - Power transformer and reactor fittings

The Chairman suggested that either all parts of the EN 50216 series or none of the parts should be adopted.  Most comments within 14/615/INF show that the majority of

members are in favor of the adoption.  All 16 parts of the EN 50216 series have been circulated to NCs asking for comments and a proposal for a Project Leader.  It appears that these documents were fairly well received by the NCs and there will be further discussion in Beijing.  These documents are old, but will be relatively unchanged if adopted by the IEC.

No US expert identified.

      - EN 50216 -1:  Power transformers and reactor fittings - Part 1: General

      - EN 50216 -2:  Power transformers and reactor fittings - Part 2: Gas and oil actuated relay for liquid immersed transformers and reactors with conservator

      - EN 50216 -3:  Power transformers and reactor fittings - Part 3: Protective relay for hermetically sealed liquid-immersed transformers and reactors without gaseous cushion

      - EN 50216 -4:  Power transformers and reactor fittings - Part 4: Basic accessories (earthing terminal, drain and filling devices, thermometer pocket, wheel assembly)

      - EN 50216 -5:  Power transformers and reactor fittings - Part 5: Liquid level, pressure and flow indicators, pressure relief devices and dehydrating breathers

      - EN 50216 -6:  Power transformers and reactor fittings - Part 6: Cooling equipment - Removable radiators for oil-immersed transformers

      - EN 50216 -7:  Power transformers and reactor fittings - Part 7: Electric pumps for transformer oil

      - EN 50216 -8:  Power transformers and reactor fittings - Part 8: Butterfly valves for insulating liquid circuits

      - EN 50216 -9:  Power transformer and reactor fittings - Part 9: Oil-to-water heat exchangers

      - EN 50216-10: Power transformer and reactor fittings - Part 10: Oil-to-air heat exchangers

      - EN 50216-11: Power transformer and reactor fittings - Part 11:  Oil and winding temperature indicators

      - EN 50216-12: Power transformer and reactor fittings - Part 12:  Fans

  - New Projects

    - IEC 62032/IEEEC57.135 (Guide for the application, specification, and testing of phase-shifting transformers)

This is a dual logo standard (IEC/IEEE) and is the first one to come up for revision. 14/645/DC was circulated and 14/661/INF is the compilation of comments received.  To be discussed in Beijing in November.

Jin Sim agreed to convene the joint group, and USNC will need to formally nominate him as an expert.  Most of the IEC members are also members of the IEEE Working Group involved in the revision process, so there will not be much work needed within IEC.

- OTHER ISSUES

  - Scope change for TC14 and 60076-1

A proposed scope change is included in 14/662/INF.  This will be discussed in Beijing in November.  This is to clear up any confusion on certain issues on

  - IEEE C57.15-2009 - IEEE Standard Requirements, Terminology, and Test Code for Step-Voltage Regulators

Final IEEE standard was published in 2009 and was circulated to the NCs.  14/637/DC was circulated.  14/642/INF is the compilation of comments received.  Further discussion will be held in Beijing in November.  It was well received and will likely move forward within TC14.  Need to confer with Jodi Haasz/Matt Ceglia.

  - SC 17C MT 27 of IEC 62271-211, "High-voltage switchgear and control gear – Part 211: Direct connection between power transformers and gas-insulated metal-enclosed switchgear for rated voltages above 52 kV"

The MT 27 of SC 17C has started the revision of IEC 62271-211 "High-voltage switchgear and control gear – Part 211: Direct connection between power transformers and gas-insulated metal-enclosed switchgear for rated voltages above 52 kV".  There is no expert from TC 14 nominated to MT 27. It would be helpful if TC 14 could nominate an expert.

At the first meeting the discussion found that besides single phase direct connecting from GIS to transformers today also three phase are used. In Asia there are newly on the market transformers with SF6 insulation. To cover this topic correctly TC14 is kindly asking for a transformer expert from MT 27. The question to TC 14 is if three phase transformer connections and SF6 transformers shall be covered in this standard.

  - Establishment for Category D liaison with IEEE

It was requested that a category D liaison be established with IEEE – Power and Energy Society Transformers Committee – with several WGs/MTs of IEC/TC 14.  The meaning of Category D liaison is described in the ISO/IEC Directives Part 1 (1.18.3.1). IEEE will need to send a letter to IEC/TC 14 (Secretary/Chairman) requesting the liaison and giving reasons for this liaison. The IEC SMB would need to vote on the liaison. Delegates present were unanimously in favor of establishing this liaison.

IEEE needs to identify the people who will serve as the Cat D Liaison before moving forward.  The people will need to be willing to travel to the meetings.

  - JWG between IEC/TC 10 (Fluids for electrotechnical applications) and IEC/TC 14 to revise IEC 61181 (Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment) and IEC 60076-2 (Power transformers, Part 2 Temperature rise for liquid-immersed transformers)

It was agreed to invite IEC/TC 10 to revise IEC 61181. A joint working group would need to be created and the US (Tom Prevost) will offer to lead this project or to assist in the development of the work. US to propose the revision.

9.	NEW BUSINESS

There was no new business.

###### 9.	DATE AND PLACE OF THE NEXT MEETING

The next meeting will be held in April, 2011, in San Diego, CA during the IEEE Transformer committee meetings.

- ADJOURN

Meeting adjourned at 10:20 am.

| Reported By: | S. Choinski | October 25, 2010 |
| --- | --- | --- |