DATE:  	March 16, 2003

TO:		Members of IEEE Transformers Committee

FROM:		Tom Prevost, Standards Subcommittee Chair

SUBJECT:	Standards Activities since the October, 2002 Meeting

TRANSFORMERS STANDARDS AND COORDINATION ACTIVITIES

The transformers standards status is given with two attachments:

(Secretary’s Note: Attachment 2, Coordination Activities, has been discontinued, as there are only a small number of such activities.)

Attachment 1 is a list of all the C57 standards, including ANSI C57 standards, sorted by Subcommittee names.  It contains a listing of the projects for which a Subcommittee is responsible, and coordination activities with other PES Committees.  The standards that are not assigned yet, or do not belong to the Transformers committee, are listed under the Standards Subcommittee.  For the publication of the Transformers Committee minutes, this attachment will be sorted by Subcommittee names, and each section will accompany the corresponding Subcommittee report.

DOCUMENTS SUBMITTED TO THE STANDARDS BOARD

IEEE-SA Standards Board

New Standards Committee (NesCom)

Recommendations

23 October 2002

NEW PARS

PC57.146 (PE/TR) Guide for Interpretation of Gasses Generated in Silicone-Immersed Transformers

Recommendation:  Approve new PAR as modified until December 2006.

REVISED PARS

PC57.13.5 (PE/TR) Trial-Use Standard of Performance and Test Requirements of Instrument Transformers of a Nominal Voltage of 115 kV and Above

Recommendation:  Approve revised PAR until December 2003.

FOR REVISIONS OF STANDARDS

10 December 2002

TARGET EXTENSION REQUESTS

PC57.12.25 (PE/TR) Standard for Pad-Mounted, Compartmental-Type, Self-Cooled, Single-Phase Distribution Transformers with Separable Insulated High-Voltage Connectors; High Voltage, 34500 GrdY/19920 Volts and Below, Low Voltage, 240/120 Volts; 167 kVA and Smaller - Requirements

Recommendation:	Defer until March 2002 pending the receipt of the appropriate request for an extension.

PC57.13 (PE/TR) Standard Requirements for Instrument Transformers

Recommendation:	Defer until March 2002 pending the receipt of the appropriate request for an extension.

PC57.19.00 (PE/TR) Standard General Requirements and Test Procedure for Power Apparatus Bushings

Recommendation:	Defer until March 2002 pending the receipt of the appropriate request for an extension.

PC57.104 (PE/TR) Guide for the Interpretation of Gases Generated in Oil-Immersed Transformers

Recommendation:	Approve target extension request until December 2004.  Last extension request.

PC57.133 (PE/TR) Guide for Short Circuit Testing of Distribution and Power Transformers

Recommendation:	Defer until March 2002 pending the receipt of the appropriate request for an extension.

PARS TO BE ADMINISTRATIVELY WITHDRAWN

PC57.113 (PE/TR) Recommended Practice for Partial Discharge Measurement in Liquid-Filled Power Transformers and Shunt Reactors

Recommendation:	Approve administrative withdrawal.

PC62.91 (PE/SPD) Standard Requirements, Terminology, and Test Procedure for Neutral Grounding Devices

Recommendation:	Approve administrative withdrawal.

WITHDRAWN PARS

PC57.139 (PE/TR) Guide for Dissolved Gas Analysis in Transformer Load Tap Changers

Recommendation:	Approve request for withdrawal.

NEW PARS

PC57.139 (PE/TR) Guide for Dissolved Gas Analysis in Transformer Load Tap Changers

Recommendation:  Approve new PAR until December 2006.

REVISED PARS

PARS FOR REVISIONS OF STANDARDS

PC57.32 (PE/TR) Standard Requirements, Terminology and Test Procedures for Neutral Grounding Devices

Recommendation:  Approve PAR for the revision of a standard until December 2006.

Joe would like a pointer back to the old number - IEEE Std 32.  Check with staff.

PC57.106 (PE/TR) Guide for Acceptance and Maintenance of Insulating Oil in Equipment

Recommendation:  Approve PAR for the revision of a standard until December 2006.

CHANGE IN PROJECT SPONSORSHIP

PC62.91 Standard Requirements, Terminology, and Test Procedure for Neutral Grounding Devices

Recommendation:  Approve transfer of sponsorship from Power Engineering/Surge Protective Devices Committee to Power Engineering/Transformers Committee.

IEEE-SA STANDARDS BOARD REVIEW COMMITTEE (RevCom)
RECOMMENDATIONS
10 December 2002

NEW

PC57.91-1995/Cor 1/D2.0 (PE/TR) Corrigenda for C57.91-1995, Guide for Loading Mineral-Oil-Immersed Transformers

Recommendation: APPROVE

REAFFIRMATION

637-1985 (R1992) (PE/TR) IEEE Guide for the Reclamation of Insulating Oil and Criteria for Its Use

Recommendation: APPROVE

C57.19.03-1996 (PE/TR) IEEE Standard Requirements, Terminology, and Test Code for Bushings for DC Applications

Recommendation: APPROVE

C57.91-1995 (PE/TR) IEEE Guide for Loading Mineral-Oil-Immersed Transformers

Recommendation: Disapprove, but instead grant a 2-year extension to allow time for the Sponsor to submit a PAR for revision or to reaffirm the base document plus the corrigenda

C57.113-1991 (PE/TR) IEEE Guide for Partial Discharge Measurement in Liquid-Filled Power Transformers and Shunt Reactors

Recommendation: APPROVE

5-YEAR REVIEW OF STANDARDS

32-1972 (R1997) (PE/SPD) IEEE Standard Requirements, Terminology, and Test Procedures for Neutral Grounding Devices

Currently, the revision project is in the process of being transferred to PE/TR from PE/SPD. PE/TR has submitted a PAR for revision, with the new project number being PC57.32. However, PE/TR will complete a reaffirmation prior to the revision.

Recommendation: Extend until December 2003.

1276-1997 IEEE Guide for the Application of High-Temperature Insulation Materials in Liquid-Immersed Power Transformers

Sponsor states that a reaffirmation ballot is in progress.

Recommendation: Extend until December 2003.

C57.12.35-1996 IEEE Standard for Bar Coding for Distribution Transformers

Sponsor states that a reaffirmation ballot is in progress.

Recommendation: Extend until December 2003.

C57.13-1993 IEEE Standard Requirements for Instrument Transformers

Sponsor will submit a PAR extension request to NesCom for revision project PC57.13.

Recommendation: Extend until the expiration of the PAR for PC57.13. [NesCom deferred to March 2003]

C57.19.00-1991 (R1997) IEEE Standard General Requirements and Test Procedure for Outdoor Power Apparatus Bushings

Sponsor has submitted a PAR extension request to NesCom for revision project PC57.19.00.

Recommendation: Extend until the expiration of the PAR for PC57.19.00. [NesCom deferred to March 2003]

C57.19.100-1995 IEEE Guide for Application of Power Apparatus Bushings

Sponsor states that a reaffirmation ballot is in progress.

Recommendation: Extend until December 2003.

C57.21-1990 (R1995) IEEE Standard Requirements, Terminology, and Test Code for Shunt Reactors Rated Over 500 kVA

Sponsor states that a reaffirmation ballot is in progress.

Recommendation: Extend until December 2003.

C57.104-1991 IEEE Guide for the Interpretation of Gases Generated in Oil-Immersed Transformers

Sponsor has submitted a PAR extension request to NesCom for revision project PC57.104.

Recommendation: Extend until the expiration of the PAR for PC57.104. [December 2004]

C57.111-1989 (R1995) IEEE Guide for Acceptance of Silicone Insulating Fluid and Its Maintenance in Transformers

2-year extension sought by Sponsor. Sponsor states that a reaffirmation ballot will be initiated.

Recommendation: Extend until December 2004.

C57.131-1995 IEEE Standard Requirements for Load Tap Changers

Sponsor states that a reaffirmation ballot is in progress.

Recommendation: Extend until December 2003.

Projects reaching end of life:

This letter is to advise you that the projects listed below will expire at

the end of 2003 and action will be required.

- PC57.12.01   Standard General Requirements for Dry-Type Distribution and

Power Transformers Including Those with Solid Cast and/or Resin

Encapsulated Windings

- PC57.130     Trial-Use Guide for the Use of Dissolved Gas Analysis During

Factory Temeprature Rise Tests for the Evaluation of Oil-Immersed

Transformers and Reactors

- PC57.140     Life Extension of Power Transformers

- PC57.141     Guide for the Application of Load Tap Changers

If the projects will not be submitted to RevCom in time for the December

2003 meeting, you have the following options:

1. Request an extension for the projects.  The Target Extension Request

Form can be found at http://standards.ieee.org/guides/par/extension.rtf.

Please note that this extension request can now be from one to four years.

2. Request withdrawal of the projects.

Please advise me in writing of the action that should be taken.  This

information will be placed on the agenda of the next scheduled NesCom

meeting (based upon the date I receive the request), and NesCom will make

its recommendation based upon the information provided.

If there is no response to this letter by 21 October 2003, the projects

will be recommended for administrative withdrawal at the 10 December 2003

IEEE-SA Standards Board meeting.

Standards due for 5 Year Review

PE/TR has some standards that are due for their 5-year review by the end of

2003. {Standards have a five-year lifespan.}  An action is required of the

Sponsor.  Available choices:

a) reaffirm

b) revise

c) extend

d) withdraw

I MUST RECEIVE A RESPONSE BY THE 21 OCTOBER 2003 SUBMITTAL DEADLINE (FOR

THE DECEMBER 2003 STANDARDS BOARD MEETING SERIES).  IF NO RESPONSE IS

RECEIVED, THE STANDARDS IN QUESTION WILL BE PLACED ON THE AGENDA FOR

ADMINISTRATIVE WITHDRAWAL.

If the Sponsor chooses to revise or reaffirm and the action cannot be

completed by the submittal deadline, please send me an email requesting an

extension of the life of the current standard and notification of the

actions that are being taken.  {Please let me know approximately when the

reaffirmation will be submitted; or when the PAR for revision will be

submitted to NesCom and the estimated completion date for the revision

project.}

If there is no further interest in a standard and the Sponsor wishes it to

be withdrawn, you do not need to ballot.  It will be administratively

withdrawn in December 2003.  {Please note that standards that are

administratively withdrawn can no longer be reinstated via reaffirmation.

The only method for reinstating an administratively withdrawn standard is

to initiate a revision process, starting with a PAR.}

The standards in question are:

32-1972 (R1997) IEEE Standard Requirements, Terminology, and Test

Procedures for Neutral Grounding Devices

1276-1997 IEEE Guide for the Application of High-Temperature Insulation

Materials in Liquid-Immersed Power Transformers

C57.12.01-1998 IEEE Standard General Requirements for Dry-Type Distribution

and Power Transformers Including Those with Solid Cast and/or Resin

Encapsulated Windings

[Note: The PAR for revision project PC57.12.01 is due to expire this year.

Please contact the NesCom Administrator, Jodi Haasz {j.haasz@ieee.org} for

actions on PARs.]

C57.12.35-1996 IEEE Standard for Bar Coding for Distribution Transformers

C57.12.56-1986 (R1998) IEEE Standard Test Procedure for Thermal Evaluation

of Insulation Systems for Ventilated Dry-Type Power and Distribution

Transformers

C57.12.60-1998 IEEE Guide for Test Procedures for Thermal Evaluation of

Insulation Systems for Solid Cast and Resin-Encapsulated Power and

Distribution Transformers

C57.13-1993 IEEE Standard Requirements for Instrument Transformers

[Note: The PAR for revision project PC57.13 is due to be withdrawn at the

March 2003 NesCom meeting.]

C57.18.10-1998 IEEE Standard Practices and Requirements for Semiconductor

Power Rectifier Transformers

C57.19.00-1991 (R1997) IEEE Standard General Requirements and Test

Procedure for Outdoor Power Apparatus Bushings

[Note: A PAR extension request is on the March 2003 NesCom agenda.]

C57.19.100-1995 IEEE Guide for Application of Power Apparatus Bushings

C57.21-1990 (R1995) IEEE Standard Requirements, Terminology and Test Code

for Shunt Reactors Rated Over 500 kVA

C57.110-1998 IEEE Recommended Practice for Establishing Transformer

Capability When Supplying Nonsinusoidal Load Currents

C57.117-1986 (R1998) IEEE Guide for Reporting Failure Data for Power

Transformers and Shunt Reactors on Electric Utility Power Systems

C57.121-1998 IEEE Guide for Acceptance and Maintenance of Less-Flammable

Hydrocarbon Fluid in Transformers

C57.125-1991 (R1998) IEEE Guide for Failure Investigation, Documentation,

and Analysis for Power Transformers and Shunt Reactors

C57.131-1995 IEEE Standard Requirements for Load Tap Changers

C57.138-1998 IEEE Recommended Practice for Routine Impulse Test for

Distribution Transformers

Ballot Status:

| Std. C57.12.58 | Reaff | PE/TR | 20-Jan-2002 | 8-Feb-2002 | 47 | 97% | 3% | 0% | Electronic |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C57.106/D7 Rev | Recirc | PE/TR | 17-Jan-2002 | 13-Feb-2002 | 136 | 95% | 4% | 1% | Paper |
| PC57.12.23/D4 | Rev | PE/TR | 21-Jan-2002 | 19-Feb-2002 | 70 | 100% | 0% | 4% | Electronic |
| Std.C57.124 | Reaff | PE/TR | 22-Jan-2002 | 20-Feb-2002 | 58 | 97% | 2% | 2% | Electronic |
| Std.C57.131 | Reaff | PE/TR | 23-Jan-2002 | 21-Feb-2002 | 90 | 95% | 4% | 4% | Electronic |
| PC57.12.01/D3 | Rev | PE/TR | 24-Jan-2002 | 22-Feb-2002 | 80 | 96% | 4% | 1% | Electronic |
| C57.12.80/D4 Rev. | Recirc | PE/TR | 8-Feb-2002 | 1-Mar-2002 | 155 | 90% | 3% | 3% | Paper |
| Std.C57.12.35 | Reaff | PE/TR | 28-Jan-2002 | 4-Mar-2002 | 77 | 95% | 5% | 0% | Paper |
| C57.21 | Reaff | PE/TR | 7-Feb-2002 | 25-Mar-2002 | 78 | 91% | 6% | 3% | Paper |
| PC57.12.34/D8 Rev | Rev | PE/TR | 1-Apr-2002 | 13-May-2002 | 90 | 68% | 32% | 3% | Electronic |
| PC57.12.31/D1.4 | New | PE/TR | 10-Apr-2002 | 22-May-2002 | 53 | 82% | 18% | 3% | Electronic |
| PC57.12.32/D4.3 | New | PE/TR | 12-Apr-2002 | 24-May-2002 | 62 | 100% | 0% | 4% | Electronic |
| PC57.104/D10 | Rev | PE/TR | 12-Apr-2002 | 24-May-2002 | 129 | 87% | 13% | 6% | Electronic |
| Std. C57.19.03 | Reaff | PE/TR | 11-Jun-2002 | 22-Jul-2002 | 53 | 97% | 3% | 5% | Electronic |
| PC57.13.5/D14.04 | New | PE/TR | 12-Jun-2002 | 24-Jul-2002 | 59 | 90% | 10% | 3% | Electronic |
| Std. 637 | Reaff | PE/TR | 14-Jun-2002 | 26-Jul-2002 | 77 | 95% | 5% | 4% | Electronic |
| PC57.12.90/D2 | Rev | PE/TR | 17-Jun-2002 | 30-Jul-2002 | 139 | 93% | 7% | 4% | Electronic |
| PC57.12.00/D2 | Rev | PE/TR | 17-Jun-2002 | 1-Aug-2002 | 160 | 86% | 14% | 7% | Electronic |
| Std. 1276 | Reaff | PE/TR | 6-Sep-2002 | 5-Oct-2002 | 98 | 98% | 2% | 3% | Electronic |
| Std. C57.113 | Reaff | PE/TR | 6-Sep-2002 | 5-Oct-2002 | 102 | 97% | 3% | 3% | Electronic |
| PC57.13.5/D15 | Recirc | PE/TR | 1-Oct-2002 | 12-Nov-2002 | 59 | 96% | 4% | 1% | Electronic |
| PC57.19.00/D6 | Rev | PE/TR | 15-Oct-2002 | 13-Nov-2002 | 89 | 95% | 5% | 2% | Electronic |
| C57.145/D6 | New | PE/TR | 8-Nov-2002 | 7-Dec-2002 | 118 | 79% | 21% | 4% | Electronic |
| PC57.12.34/D9 | Recirc | PE/TR | 7-Feb-2003 | 9-Mar-2003 | 90 |  |  |  | Electronic |

2003 Invitation to Ballot

| Std.62 REAFF | PE/PSIM | Wallace B Binder | 02/05/2003 | 03/07/2003 | 625 | Electronic Invitation |
| --- | --- | --- | --- | --- | --- | --- |
| Std.C57.110 REAFF | PE/TR | Richard P Marek | 01/23/2003 | 02/22/2003 | 844 | Electronic Invitation |

2002 Invitation to Ballot

| Std.C57.12.35 REAFF | PE/TR | George E Henry | 11/26/2001 | 01/07/2002 | 552 | Paper Invitation |
| --- | --- | --- | --- | --- | --- | --- |
| PC57.12.34 REV | PE/TR | Stephen Shull | 02/08/2002 | 03/10/2002 | 539 | Electronic Invitation |
| PC57.12.32 | PE/TR | Robert C Olen | 02/08/2002 | 03/14/2002 | 539 | Electronic Invitation |
| PC57.12.31 | PE/TR | Robert C Olen | 02/08/2002 | 03/14/2002 | 539 | Electronic Invitation |
| PC57.104 REV | PE/TR | Frank W Heinrichs | 02/11/2002 | 03/12/2002 | 539 | Electronic Invitation |
| PC57.13.5 | PE/TR | Joseph Ma | 04/15/2002 | 05/15/2002 | 550 | Electronic Invitation |
| Std.C57.19.03 REAFF | PE/TR | Fred E Elliott | 04/24/2002 | 05/23/2002 | 553 | Electronic Invitation |
| PC57.12.00 REV | PE/TR | Subhash C Tuli | 04/26/2002 | 05/26/2002 | 553 | Electronic Invitation |
| PC57.12.90 REV | PE/TR | Subhash C Tuli | 04/26/2002 | 05/27/2002 | 553 | Electronic Invitation |
| Std.637 REAFF | PE/TR | James A Thompson | 05/01/2002 | 05/31/2002 | 552 | Electronic Invitation |
| Std.C57.113 REAFF | PE/TR | Mark D Perkins | 07/30/2002 | 08/29/2002 | 579 | Electronic Invitation |
| Std.1276 REAFF | PE/TR | Michael A Franchek | 07/31/2002 | 08/30/2002 | 580 | Electronic Invitation |
| PC57.19.00 REV | PE/TR | Keith Ellis | 07/31/2002 | 08/30/2002 | 580 | Electronic Invitation |
| PC57.145 | PE/TR | Barry L Beaster | 09/09/2002 | 10/09/2002 | 577 | Electronic Invitation |

NEXT STANDARDS BOARD MEETINGS AND SUBMITTAL DEADLINES

Meeting date		Deadline for Submittal of PAR (1) or Draft Standard (2)

March 18, 2003				February 7, 2003

June 10, 2003				May 2, 2003

Sept. 11, 2003				Aug. 1, 2003

Dec. 8, 2003				Oct. 21, 2003

- A PAR must be sent to the Standards Subcommittee Chair before the stated deadline.

- Standards must be submitted directly to the IEEE Standards Department by the Working Group Chair before the stated deadline to be considered at the next Standards board Meeting.

Note:

The PAR form has been revised.  To locate the current PAR form please go to http://standards.ieee.org/guides/par/index.html.  Also, a new Target Extension Request form is to be used for all extension requests for PARs and is located at http://standards.ieee.org/guides/par/extension.html.