U.S. National Committee of the International Electrotechnical Commission,

A Committee of the American National Standards Institute

Technical Advisory Group for IEC TC 14

TAG Administrator:

National Electrical Manufacturers Association

1300 North 17th Street, Suite 1752, Rosslyn, VA  22209

Tel: 703-841-3252, fax: 703-841-3353

---------------------------------------------------------------------------------------------------------------------MINUTES

PLACE OF MEETING:	Omni Houston Hotel

4 Riverway

Houston, TX 77056

DATE AND TIME:	Monday, March 8, 2010

8:15 AM

PRESIDING OFFICER:	P. Hopkinson, Technical Advisor

| Members Present: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | R. Ahuja |  |  | Waukesha Electric Systems |
|  |  | P. Hopkinson |  | HVolt, Inc., Technical Advisor |
|  |  | M. Kennedy |  | Doble Engineering |
|  |  | S. Kennedy |  | Niagara Transformer |
|  | M. Locarno |  |  | Doble Engineering |
|  |  |  | R. Marek | Dupont Advanced Fibers Systems |
|  |  | H.J. Sim |  | Waukesha Electric Systems |
|  | S. Choinski |  |  | NEMA Staff, TAG Administrator |

| Members Absent: |  |  |
| --- | --- | --- |
|  | C. Colopy | Cooper Power Systems |
|  | J. Corkran | Cooper Power Systems |
|  | L. Dix | Quality Switch |
|  | J. Foldi | Foldi & Associates |

| Others present: |  |  |
| --- | --- | --- |
|  | J. Alvarez | Prolec GE |
|  | P. Arrascaeta | Cordoba-Argentina |
|  | R. Asano | ABB |
|  | N. Brush | Consultant |
|  | A. Cancino | IEM-Mexico |
|  | R. deFay | Copper Development Association |
|  | R. Girgis | ABB |
|  | M. Gromlovits | Federal Pacific |
|  | J. Haasz | IEEE |
|  | T. Holdway | Intermountain Electronics |
|  | M. Heathcote | Martin Heathcote Associates LTD |
|  | A. Kraemer | Reinhausen |
|  | P. Jarman | National Grid, IEC TC14 Chairman |
|  | B. Lopez | Prolec GE |
|  | D. Marlow | TBEA Transformer |
|  | H. Nordman | ABB Oy, Transformers |
|  | D. Patel | Hammond Power Solutions |
|  | C. Ploetner | ABB |
|  | J. Puri | Transformer Solutions, Inc. |
|  | E. Rawls | Howard Industries |
|  | O. Rolzman | Intellpower, Australia |
|  | Z. Roman | Areva T&D |
|  | D. Sawer | Cooper Power Systems |
|  | M. Schenk | Siemens |
|  | E. Smith | H-J Enterprises, IEEE Transformer Committee Chairman |
|  | E. Tolachir | Tubos trans Electric |
|  | S. Tuli | Delta-Star, Inc |
|  | T. Turvey | Specialty Switch |

- CALL TO ORDER

The meeting was called to order, meeting guidelines reviewed and attendance recorded.  The requirements for official TAG membership was discussed.

- APPROVAL OF THE AGENDA

The Agenda was approved as written.  The Technical Advisor noted that the Agenda was well prepared.

4.	APPROVAL OF THE PREVIOUS MINUTES

Minutes of the meeting held October 26, 2009 in Lombard, Illinois, are submitted for approval.

5.	REVIEW AND UPDATE OF USNC ROSTERS FOR TC 14

A roster was circulated and corrections were noted.  The official roster of paying TAG members:

Raj Ahuja

Craig Colopy

Jerry Corkran

Larry Dix

Joe Foldi (Liaison to Canada)

Phil Hopkinson (Technical Advisor)

Matt Kennedy

Sheldon Kennedy

Mario Locarno

Rick Marek

Jin Sim

Scott Choinski (TAG Secretary)

- REPORT ON 2009 PLENARY MEETING

Highlights of the 2009 Plenary meeting of IEC TC14 held in Rosslyn, Virginia.  Discussion occurred in the individual agenda items below.

- STANDARDS ACTIVITIES

  - IEC 60076-1 Ed. 3.0 - Power transformers - Part 1: General (MT5 Convenor:  P. Hopkinson)

Comments from CDV were addressed by MT5.  An editorial team addressed the editorial comments in January.  A review of the comments and document version are needed and it will then be prepared/circulated as FDIS.  If all goes well, document will be published late this year.

There was a lot of discussion at the Plenary meeting on the meaning of frequent energization.  A questionnaire was circulated to the National Committees and the consensus was more than 24 energizations per year.  This was put into the document.

  - IEC 60076-2 Ed. 3.0 - Power transformers - Part 2: Temperature rise for oil-immersed transformers (MT6 Convenor:  A. Bossi)

A meeting was held in January 2010 in Milan.  Technical comments were addressed.  The FDIS should be available for vote this year.

  - IEC 60076-3:  Power transformers - Part 3: Insulation levels, dielectric tests and external clearances in air: (MT 60076-3 Convenor: Yukiyasu Shirasaka)

First meeting of MT held November 17-18 at NEMA.  The expected target dates for the development or IEC 60076-3 are as follows:

CD 2010-06, CDV 2011-04, FDIS 2012-01, IS 2012-04

It is expected that Dielectric test tables from the IEEE document will be included. Next meeting scheduled for Paris in a few weeks.

Mr. Raj Ahuja is the US expert

  - IEC 60076-10 Ed. 2.0 - Power transformers - Part 10: Determination of sound levels (MT 60076-10 Convenor:  Dr. C. Ploetner)

The WG has not met yet, No US expert identified.

Jeewan Puri has done a lot of work in the IEEE on sound levels.  There was extended discussion on harmonization between IEC and IEEE documents and the value of establishing Joint WGs.

  - IEC 60076-16 Ed. 1.0 - Power transformers - Part 16: Transformers for wind turbines applications (WG31 Convenor M. Sacotte)

The commenting period for the CDV closed on 08 January 2010.

No US expert identified.

IEEE TF Wind Power Transformers is looking at this document and the next meeting is Tuesday morning at 8 am.  Will consider becoming a WG.

  - IEC/TR 60076-17 Ed. 1.0 - Evaluation of electromagnetic fields around power transformers

Revised draft due to the Secretary /Central Office by 2010-02.  Once the comments have been incorporated the document can be published. There was a discussion about the incorporation of calculation of electromagnetic fields into the document, but it was agreed to invite the Canadian NC to make a proposal for a new work item to include these changes if a suitable convenor is found.

  - IEC 60076-18 Ed. 1.0 - Power transformers - Part 18: Measurement of frequency response (PT 60076-18 Convenor: Patrick Picher)

Convenorship was transferred from Paul Jarman to Patrick Picher.  This document has now been progressed to the CD stage.  (14/626/CD). Deadline 19 February 2010.

Matt Kennedy and Mario Lozano are the US experts.

This document is similar to C57.149, which is almost ready for ballot.  C57.149 seems to be more of an application guide.

  - IEC 61378-1 Ed. 2.0 - Convertor transformers - Part 1: Transformers for industrial applications (MT7 Convenor U. Piovan)

The next MT meeting was planned for February 2010.  The FDIS will be submitted to the TC 14 Secretary by 2010-06.

Sheldon Kennedy has been identified as the US expert for this standard.

  - Other proposed standards

    - CLC EN 50216-9: Power transformer and reactor fittings - Part 9: Oil-to-water heat exchangers

The Chairman suggested that either all parts of the EN 50216 series or none of the parts should be adopted.  Most comments within 14/615/INF show that the majority of

members are in favor of the adoption.  It was agreed to circulate all 16 parts of the EN 50216 series to NCs asking for comments and a proposal for a Project Leader. The Chairman agreed to consider all comments on the CENELEC documents and reports back during the next meeting.

    - CLC EN 50216-10: Power transformer and reactor fittings - Part 10: Oil-to-air heat exchangers

See above

    - CLC/EN/TR 50462 (Rules for the determination of uncertainties in the measurement of the losses on power transformers and reactors)

A Project Team will be formed with Antonio Bossi (IT) as a project leader to simplify the European Standard and to introduce this Standard as IEC Technical Specification into the IEC/TC 14 work program.

  - New Projects

    - IEC 60214-1: Tap-changers – Part 1: Performance requirements and test methods

Revision, Convenor: Axel Kraemer

    - IEC 61378-2 (Convertor transformers - Part 2: Transformers for HVDC applications)

It was agreed to start the revision of IEC 61378-2 once the outcome of the CIGRE joint working group A2/B4.28 has been published. The Convenor will be Anders Lindroth

    - IEC 61378-3 (Converter transformers - Part 3:Application guide)

No information available on this project.

    - IEC 62032 (Guide for the application, specification, and testing of phase-shifting transformers)

This is a dual logo standard (IEC/IEEE). IEEE is revising this Standard (PC57.135). As a dual logo standard the procedure of AC 24/2007 needs to be followed. The Secretary agreed to circulate document PC57.135 as a DC document. This DC will also serve as a call for experts to participate in the joint group to revise IEC 62032. Jin Sim agreed to convene the joint group.  This work should begin when the IEEE document is complete.

    - Develop a Standard for distribution transformers

There was a general agreement that a new standard for distribution transformers would be useful. However, no Convenor has been identified so the work will not commence.  Will be revisited once IEC 60076-1 is completed.

If this is to proceed, power ratings will need to extend beyond the existing limit of 2.5 MVA up to 10 MVA, voltage ratings up to 69 kV.

A JWG between IEC and IEEE should be considered.  Dave Aho did a lot of work in the past, but is no longer active in the transformer committee.  Perhaps he could be coaxed back for this project.  Mr. Hopkinson will seek other candidates for the Convenor.

- OTHER ISSUES

  - Scope change for TC14 and 60076-1

A comment from the Italian NC results in certain low voltage transformers being excluded from IEC 60076-1 that had previously been procured against it.  It was agreed that these transformers be included, which requires a change to IEC 60076-1 and to the scope of TC14.  Consultation with TC96 is required, and a DC will be circulated to the NCs for comment.

  - Energy efficiency

Work is already going on in CENELEC/Europe.  It was agreed to start work with Michel Sacotte as a Project Leader. Michel Sacotte will circulate the new work item proposal.

It seems that there would be a common methodology for determining energy efficiency, though each country may have different efficiency levels.

A lot of work is underway in the US with DOE rulemaking.  MV and Liquid rulemaking is being opened early due to a lawsuit by environmental groups who were looking for the effects of CO2 reductions to be considered.

  - IEC 60076-6-1 to cover variable and saturable reactors.

Russia agreed to issue a new work item proposal to produce a standard.  Prof. Andrey Lokhanin will be the project leader.

  - Transformers for Off-shore power transmission

No action needed from TC14 at this time, but this may be appropriate for Wind Transformers to consider.

  - Transformers for nuclear installations

Proposed to start work on a new IEC standard based on the existing IEEE standards (IEEE 638, 323, 344). It was agreed to issue a DC which will also include a request for nomination of a project leader.

  - Upgrade IEC TS 60076-14 (Power transformers - Part 14: Design and application of liquid-immersed power transformers using high-temperature insulation materials) to a full Standard.

Finland proposal.  Work could start next year at the earliest, as the MRD is 2012. An MCR will be issued with the US (Rick Marek) as a Project Leader. Rick Marek agreed to send some documentation to the Secretary for circulation with the MCR.

C57.154 is the complementary IEEE document, but is diverging from -14.  Becoming more of a standard rather than a guide.

  - IEEE C57.15 D8.3 - IEEE Standard Requirements, Terminology, and Test Code for Step-Voltage Regulators

It was agreed to circulate a DC asking National Committees for their opinion on whether to issue this draft as a dual logo Standard and to ask the question if they see any conflict with other Standards. Craig Colopy (US) is proposed as a Project Leader and he will consider the comments on the DC.

  - TC14 Liaison to ISO/TC 108/SC 5 - Condition monitoring and diagnostics of machines

Matthew Kennedy (US) agreed to take over from Paul Jarman.

  - Establishment for Category D liaison with IEEE

It was requested that a category D liaison be established with IEEE – Power and Energy Society Transformers Committee – with several WGs/MTs of IEC/TC 14.  The meaning of Category D liaison is described in the ISO/IEC Directives Part 1 (1.18.3.1). IEEE will need to send a letter to IEC/TC 14 (Secretary/Chairman) requesting the liaison and giving reasons for this liaison. The IEC SMB would need to vote on the liaison. Delegates present were unanimously in favor of establishing this liaison.

Jodi Haasz wasn’t sure if Cat D Liaison is the path to proceed.  The liaisons are for specific WGs and a higher level liaison may be needed.  More discussion between IEEE and IEC is needed.

  - JWG between IEC/TC 10 (Fluids for electrotechnical applications) and IEC/TC 14 to revise IEC 61181 (Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment) and IEC 60076-2 (Power transformers, Part 2 Temperature rise for liquid-immersed transformers)

It was agreed to invite IEC/TC 10 to revise IEC 61181. A joint working group would need to be created and the US (Tom Prevost) will offer to lead this project or to assist in the development of the work. US to propose the revision.

  - Plenary Meeting 2010

The Chinese NC offered to host the next meeting in China.  The provisional date for the Plenary meeting will be the 18/19 November 2010. The preceding three days will be used for MT/WG meetings.

9.	NEW BUSINESS

There was no new business.

###### 9.	DATE AND PLACE OF THE NEXT MEETING

The next meeting will be held in October, 2010, in Toronto, Canada during the IEEE Transformer committee meetings.

- ADJOURN

Meeting adjourned at 9:45 am.

| Reported By: | S. Choinski | March 8, 2010 |
| --- | --- | --- |